出國報告（出國類別：國際會議）

出席The 9th International Symposium on Measurement Technology and Intelligent Instruments研討會

服務機關：雲林科技大學機械系

姓名職稱：張嘉隆 教授

派赴國家：俄羅斯

報告日期：2009年6月30日

出國時間：2009年6月29日至7月2日

摘要

工件幾何外型及尺寸之精確量測是控制產品品質的重要技術，量測技術日新月異，瞭解國際間之量測技術發展，有助個人學術知識之累積。本人所發表之論文為以影像處理技術量測電銲道之外型及融溶面積，此技術有助於電銲道優劣之判別及最佳電銲條選擇。

目次

一、目的----------------------------------------------------------------------3

二、過程----------------------------------------------------------------------3

三、心得----------------------------------------------------------------------3

四、建議事項------------------------------------------------------------------3

五、附件----------------------------------------------------------------------4

一、目的

研討會之目的在促進國際學者對最新量測技術發展的認識，增進彼此間的互動與交流，提升個人相關知識之累積。

二、過程

2009年6月29日至7月2日，經由韓國至俄羅斯之聖彼得堡參加ISMTII-2009研討會(The 9th International Symposium on Measurement Technology and Intelligent Instruments)，進行論文發表及參與相關學術交流。此研討二年舉辦一次，分別由歐洲及亞洲輪流舉辦，本年度在俄羅斯之聖彼得堡舉辦。

三、心得

近年來量測技術應用於工業產品品質檢測的發展極為快速，所參與的研討會場次，多篇論文皆利用檢測之幾何形狀預測可能的工件破壞，此技術極具工件非破壞檢測發展的潛力。研討會並有機會參觀聖彼得堡州立大學(Saint-Petersburg University of Information Technologies, Mechanics and Optics)之光學實驗室，其實驗室之特徵為積極與國際大廠(Nokia, IBM)進行基礎光學材料特性之研究，積極尋求廠學研究經費，降低國家補助比率。

四、建議事項

蘇聯解體後，俄羅斯之國力雖不如過去輝煌，但其工程基礎實力紮實及對工程教育之重視，在參觀其實驗室時，可發現自製率相當高，此點值得參考。

五、附件

Measurements of Weld Geometry Using Image Processing Technology

Chia-Lung Chang, Yen-Hung Chen

Department of Mechanical Engineering, National Yunlin University of Science and Technology, Douliu, Yunlin, Taiwan, ROC

Department of Mechanical and Computer Aided Engineering, Chung Chou Institute of Technology, Yuanlin Township, Changhua, Taiwan, ROC

Tel.: + 886-5-5342601 ext.4126	Fax: +886-5-5312062	E-mail: changcl@yuntech.edu.tw

Abstract

The weld geometry is directly related to weld strength. The weld geometry by manual measurement may be inaccurate due to human errors. In this study, the image processing is proposed to measure the geometrical dimensions of bead-on-plate weld. The image noise of weld was smoothed by median filter. The boundary of fusion area was enhanced by histogram processing. The edge of deposit and fusion area is then obtained using Laplacian-Gaussian operator and zero crossing detection. The demonstrated example shows that the image processing can effectively and accurately measure the weld geometry.

Keywords: Weld geometry, Image processing, Bead-on-plate weld, Deposit area, Fusion area

- Introduction

The weld geometry is a function of welding process parameters. It is important to study the effect of welding process parameters on weld geometry, especially when the automated welding equipment is used. An insufficient throat or concave type weld profile reduces the cross-sectional area of the weld. Therefore, the concave type weld is a point of weakness. Excessive convexity or reinforcement causes stress concentration that creates problems under impact, fatigue loads, or low-temperature service. Inadequate penetration is a weld defect, which would leave an unfused area that could cause failure. The effect of process variables on weld geometry has been studied by Tarng and Yang [1] . The weld profiles were measured using the planimeter. In order to study the correlation between the weld geometry and weld failure, Bowman and Quinn [2] and Mashiri et al. [3] made duplicated molds from welds, and the weld geometry was measured from a mold using a profile projector. The weld measurement by either the planimeter or the profile projector is not fully automated. Manual measurement may be inaccurate due to human errors.

Wide applications have been employed to measure the geometrical characteristics of filling or spraying process due to the technological advancement of image processing. Qu et al. [4] used image processing to measure the deposit dimension in spray forming. Kuo and Wu [5] used fuzzy theory coupled with image processing to track the welded seam and to send an appropriate control signal to the numerical control machine. In this study, the image processing technology is employed to measure the weld geometry of bead-on-plate weld.

- Image Processing

An image can be represented by two-dimensional function. The image function represents the gray level value, andandrepresent space coordinates. The image consists of points, where every point is known as a pixel. Thedigitization value of a pixel is represented by a byte. represents black, while represents white, and the intermediate values of  represent the graduated variation from black to white.

- Mask

The mask is an operator that obtains the new value of function for a pixel. A pixel and its neighboring pixels are operated upon and a new value is calculated. After the pixel is operated upon by the mask, the value of the function is the numerical value of this point.

- Filter

If the image is noisy and blurred, it is necessary to use a filter to smooth the image prior processing. The smaller the pixel area chosen, the less effective the filter will be, while, with a larger chosen pixel area, the more effective the filter operation will be, but the operation will be more complex.

- Low pass filter

An image with a large variation in the gray level value will result in high frequency noise following Fourier transfer. If the high frequency components can be removed, the image will be smoothed. The mask operation is often used for the smoothing of an image. This method reduces the high frequency components and smoothes the image.

- High pass filter

This filter is used to reinforce the part where the image varies greatly, and to reduce the low frequency component of the image. After treatment by this filter, the outline of the image will become clearer.

- Median filter

The filter is used to remove random noise and to maintain image sharpness. Let each point in the pixel range be arranged according to its numerical value. The median value will be obtained. The gray level of each point is replaced by the median of the gray levels in a neighborhood of that point, instead of by the average.

- LOG operator

The edge of an image can be efficiently detected using LOG (Laplacian of Gaussian ) operator. The operator combined both low pass filter and high pass filter. The low pass filter is Gaussian function, which smooth the input image. The high pass filter is Laplacian function, which reinforces the outlines of an image.

(1)

(2)

Where * represents a convolution operator andis the spread parameter.

(3)

The resolution of a digit camera is getting higher, hence the captured pixels of an image is growing larger. It is necessary to implement a larger mask to calculate LOG operator. A  mask with is used to approximate LOG operator in this study [6]. The mask computes a response by integrating the input of 121 pixels and thus responds a larger image feature and not a smaller one.

- Zero-crossing detection

The zero-crossing detection is to mark the points where the result of LOG response has zero value. Huertas and Medioni [7] have developed a systematic method for classifying patterns in order to determine edge direction. A window of LOG response is compared with the zero-crossing patterns as shown in reference [7]. If thewindow of LOG response is identical to one of zero-crossing patterns, then the center point of the window is the edge point. The gray level value of edge point is 0 , otherwise the gray level value is 255.

- Histogram Processing

The histogram with significant spread corresponds to an image with high contrast. If the histogram of an image with gray levels in the range [0, L-1] can be described as a discrete probability function of  equals , where is the kth gray level, is the number of pixels in the image with that gray level, n is the total number of pixels in the image, and ,then a uniform histogram of the image can be obtained using histogram equalization as Equ.(4)[8]. The treatment of histogram equalization can spread the gray level range and thus enhance the edge detection.

(4)

Where is the equalization gray level corresponding to kth gray level.

- Results

- Accuracy verification

In order to verify the measurement accuracy, the evaluation comparison has been carried out between a group of concentric circles ranged from 2 to 10 mm radius with 1 mm intervals and a reference circle of 3 mm radius. The images of both the concentric and reference circle acquired from SONY DSC-H5 digital camera (7.2M Pixel) were processed by LOG operator and zero-crossing detection. The center and average radius Ravg for each circle were calculated by the least square method. The length of pixel was estimated by dividing Ravg of the reference circle by the pixel number on Ravg. Similarly, the area of pixel was calculated by dividing area of the reference circle by the pixel number within the circle. Based on the pixel length and area, the average radius, maximum radius, minimum radius, range radius Rran, area of comparative circle A can be estimated. Table1 shows the geometric data of the evaluated circles, where A0 equals and σ is the standard deviation.

Table 1. Results of evaluated circles

|  | Ravg (mm) | Rmax (mm) | Rmin (mm) | Rran (mm) | σ (mm) | A(mm2) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3mm | 3.00 | 3.02 | 2.98 | 0.04 | 0.016 | 28.27 | - |
| 2mm | 1.99 | 2.01 | 1.97 | 0.04 | 0.015 | 12.44 | -1.0 |
| 6mm | 6.01 | 6.03 | 5.99 | 0.04 | 0.018 | 113.48 | 0.33 |
| 10mm | 10.02 | 10.05 | 10.00 | 0.05 | 0.023 | 315.42 | 0.40 |

- Weld geometry

The base material used for this study was a 9 mm-thick plate of low carbon steel. The plate was cut into  pieces and both surfaces were sand blasted to remove dirt and oxides. A CO2 arc welding machine was used to deposit experimental bead-on-plate welds. The electrode diameter 1.2mm, welding voltage 28V, welding current 200A and welding speed were used in the experiment. The weld was cross-sectioned at mid-length, polished and macro etched with 5% nital. A digital camera was used to acquire the image of a macro etched section of weld along with a reference circle of 3 mm radius. The image of a weld cross section is shown in Fig.1. The image of reference circle was treated by LOG operator and zero crossing detection to obtain the outline. The pixel length and area were estimated based on the pixel number on the diameter and within the area of the circle, respectively. In order to decrease the noise disturbance of the weld image, a median filter was used to smooth the weld image. The LOG operator and zero crossing detection were then processed to obtain the edge of weld deposit. Due to the contrast of gray level between the fusion area and base material was insignificant, the histogram processing was used to enhance the junction of fusion area. The edge of fusion area was obtained by LOG operator and zero crossing detection. The edge of deposit and fusion area after image processing is shown in Fig.2. where Ad represents deposit area, Af represents fusion area, W is weld width, R is weld reinforcement and P is weld penetration. Based on the estimated pixel length and area, the geometrical dimensions of wed can be calculated: Ad= 22.30 mm2 , Af= 23.13 mm2 , W= 14.94 mm, R= 2.67 mm, and P= 2.77 mm.

Fig. 1. Image of macro etched section of                 Fig. 2. Edge of deposit and fusion area

Bead-on-plate weld

- Conclusion

The macro etched section of weld can reveal the weld deposit and fusion junction between weld and base material. The deposit area is directly related to the load resistance. The fusion area is an indication of the composition change of weld material caused by mixing of base material and related to joint penetration. In this study, the image processing is used to measure the geometrical dimensions of bead-on-plate weld. The edges of deposit and fusion area are obtained by LOG operator and zero-crossing detection. The results show that the image processing can effectively and accurately measure the weld geometry.

- Acknowledgments

This work was supported by the national science council of ROC under contract      No. NSC-96-2221-E-224-051. The authors would like to express their thanks herewith.

References

- Y.S. Tarng, W.H. Yang. Optimisation of the Weld Bead Geometry in Gas Tungsten Arc Welding by the Taguchi Method, Int J Adv Manuf Technol, Vol.14, pp.549-554, 1998.

- M.D.Bowman, B.P.Quinn. Fillet Weld Profile Measurements, Experimental Techniques, No.5, pp.21-24, 1995.

- F.R.Mashiri, X.L.Zhao, P.Grundy. Effects of Weld Profile and Undercut on Fatigue Crack Propagation Life of Thin-Walled Cruciform Joint, Thin-Walled Structures Vol.39, pp.261-285, 2001.

- Ying-dong Qu, Cheng-song Cui, Shan-ben Chen, Qing-chun Li. On-line Measurement of Deposit Dimension in Spray Forming Using Iimage Processing Technology, Journal of Materials Processing Technology ,Vol.172, pp195-201, 2006.

- Hsing-Chia Kuo, Li-Jen Wu. An Iimage Tracking System for Welded Seams Using Fuzzy Logic, Journal of Materials Processing Technology ,Vol.120, pp169-185, 2002.

- Linda G. Shapiro, George C. Stockman.Computer Vision, Prentice-Hall, Upper Saddle River, New Jersey, 2001.

- A. Huertas, G. Medioni. Detection of Intensity Changes Using Laplacian-Gaussian Masks, IEEE Trans. Pattern Analysis and Machine Intelligence, PAMI-8, 5, pp651-664, 1986.

- Rafael C. Gonzalez, Richard E. Woods. Digital Image Processing, Addison-Wesley Publishing Company, New York, 1993.

# Text boxes

Item

Radius