Mechanical and Metallurgical Inspection Training

Date: 2014.11.16 ( 1st day)

Reference standard: None

Test specimen: oral approach

Training items:

Visit mechanical laboratory to check the test equipments and test standards. Discuss and confirm the training schedule.

Mechanical and Metallurgical Inspection Training

Date: 2014.11.17 ( 2nd day)

Reference standard: ASTM E8/E8M-13a

Test specimen: Plate-type (low carbon alloy structure steel)

Training items: Tension test

- Introduce the scope and definitions of test methods covered by reference standard.

- Introduce the shape and dimensions (including gage length, width, thickness, etc.,) of several type of test specimen (including plate-type, sheet-type, and subsize specimen).

- SASO engineer uses the caliper to measure the dimension of plate-type specimen.

- SASO engineer successfully uses the universal test machine to exercise the tension test.

- SASO engineer use the caliper to measure the length of fractured specimen. The instruct the engineer to calculate the elongation.

- Instruct the engineer to follow the section 8 in reference standard to write down the tension test report (including standard used, material, specimen type, yield strength, tensile strength, elongation).

Mechanical and Metallurgical Inspection Training

Date: 2014.11.18 ( 3rd day)

Reference standard: ASTM E8/E8M-13a、CNS 560、ASTM A370、ASTM A615M

Test specimen: steel rebar (D10)

Training items: Rebar Dimension measurement、Tension test

- Introduce the tension test speed specified in ASTM E8/E8M and ASTM A370.

- Explain the rebar dimensions and unit mass requirements specified in CNS 560 and ASTM A615M. SASO Engineer practices to use caliper and balance scale to measure the dimension and unit weight of rebar.

- According to the test speed specified in section 11.4 in ASTM A370, SASO engineer successfully uses the INSTRON universal test machine to finish rebar tension test.

- Explain how to round the results (yield strength and tensile strength) by section 7.13 in ASTM E8/E8M.

Mechanical and Metallurgical Inspection Training

Date: 2014.11.19 (4th day)

Reference standard: ASTM E10-12、ASTM E18-14、ASTM E384-11

Test specimen: reference hardness block

Training items:

- Use the reference standard to illustrate the principle of Brinell hardness、Rockwell hardness, and Vickers hardness test.

- Illustrate the hardness test indenter type of Brinell hardness、Rockwell hardness, and Vickers hardness test.

- Illustrate the formula to calculate the hardness value.

- Illustrate the test procedure stated in section 7 in ASTM E10, section 7 in ASTM E18-14, and section 8 in ASTM E384-11.

- SASO engineer practices to use the reference hardness block to verify the hardness test machine.

Mechanical and Metallurgical Inspection Training

Date: 2014.11.20 (5th day)

Reference standard: ASTM E10-12、ASTM E18-14、ASTM E384-11

Test specimen: steel rebar, rebar specimen mounted in Bakelite

Training items:

- SASO engineer uses the reference hardness block to verify the hardness test machine condition.

- Illustrate the representation of hardness value.

- SASO engineer successfully uses the hardness test machine to measure the hardness of the specimen. (steel rebar: 223.0 HV5, rebar specimen mounted in Bakelite: 231.1 HV5)

Mechanical and Metallurgical Inspection Training

Date: 2014.11.23 (6th day)

Reference standard: ASTM E23-07a

Test specimen: oral approach

Training items:

- Illustrate the principle of impact test of metallic material.

- Illustrate the shape and dimension of Charpy and Izod impact test specimen.

- Illustrate the formula to calculate the impact absorbed energy.

- SASO engineer try to verify the impact test machine.

Mechanical and Metallurgical Inspection Training

Date: 2014.11.24 (7th day)

Reference standard: SASO 167/2012、SASO 168/2012

Test specimen: five stoves cooker

Training items:

- Check components of the five stoves cooker to meet requirements that specified in the SASO 167 standard. Safety device is not found in the baking oven.

- Place the stove burner material into the heater, and set the temperature of heater to 570℃. The material does not melt and deform.

- Discuss the test method of surface temperature of the cooker. SASO use the laser thermal detector to measure the surface temperature. We suggest that multichannel thermocouple temperature detector can be more precise and accurate to monitor the surface temperature of the cooker.

- Discuss the test method about oven door strength in section 10.2.1.1 and 10.2.1.2 in SASO 167, SASO place a weight on the door to perform the test. Since the SASO standard requires that the load shall be applied uniformly on an area of 3000mm2 or a central strip 100mm wide, we suggest to prepare a plate of area 3000mm2 and a plate of 100mm wide. The plate can be place on the door first, then the weight is placed on the plate to meet the uniform load requirement.

Mechanical and Metallurgical Inspection Training

Date: 2014.11.25 (8th day)

Reference standard: ASTM E23-07a

Test specimen: Charpy impact test specimen (10X5X55 mm)

Training items:

- Illustrate measurement of lateral expansion of charpy impact test in section 9.2 in ASTM E23.

- Illustrate the percentage of shear fracture and the method to measure the percentage of shear fracture in section 9.3 and Annex6 in ASTM E23 respectively.

- Illustrate the method to estimate the friction loss in Charpy impact test machine.

- SASO engineer uses the Charpy impact test machine to test the specimen. The absorbed energy of the specimen in room temperature (21℃) is 72 Joule.

Mechanical and Metallurgical Inspection Training

Date: 2014.11.26 (9th day)

Reference standard: SASO 167、ISO 7165

Test specimen: five stoves cooker、powder and CO2 fire extinguisher、portable gas cylinder

Training items:

- Illustrate the effective discharge time in ISO 7165, and SASO engineer measure the powder and CO2 fire extinguisher effective discharge time are 17.08sec and 11.82sec. The results meet the requirement specified in ISO 7165 (8sec).

- Illustrate the filling requirements in ISO 7165, SASO engineer use a scale to measure the weight of powder and CO2 fire extinguisher before and after the effective discharge time test.

- Illustrate minimum bulk range (3m) in ISO 7165. SASO engineer uses the tape measure to measure the bulk range of powder and CO2 fire extinguisher. The bulk range of powder and CO2 fire extinguisher are 5.3m and 4.1m respectively.

- SASO engineer successfully uses the hydrostatic test machine to perform the burst test of gas cylinder.

- SASO engineer successfully uses the balance (10kgf and 20kgf) to test door strength of the five stoves cooker.